## About the template
The project “Effective Financing Tools for implementing Energy Efficiency in Buildings” (EFFECT4buildings) develops a comprehensive decision-making support tools with a set of financial instruments in cooperation with public building managers. The tools are: Financial calculation tools; Bundling; Funding; Convincing decision makers; Energy Performance Contracting; Multi Service Contract; Green Leasing Contract; Prosumerism. The tools and instruments have large potential helping building managers overcome financial barriers, based on nearly 40 interviews with the target group. The project improves these tools through several implemented pilots and test cases. Energy Performance Contracting (EPC) is a well-tested and successful model for energy saving. It is used by public building owners to reach climate and energy targets at a faster pace than with traditional implementation. There is still a large energy-saving potential in public sector. This template for baseline data is based on the Guide to EPC developed in the framework of the EFFECT4buildigs project. The guide introduces a new implementation model based on experiences in the countries involved in the EFFECT4buildings project - its main novelty aspects being contract based partnership during the analyses phase and new award criteria to better fit the goals of building owners. The Template for baseline data is part of a toolbox of 9 documents and templates adapted to the new implementation models various phases primarily emphasising the first two phases. Experiences from past EPC projects shows that decisions made early are crucial. The goal is to promote EPC as an energy saving model and simplify the start-up of an EPC project. The building owner fills in baseline data for it's bulding stock and include it as part of the tender documentation. The Excell sheet and its formulas must be quality assured before use. Please see the instructions for use in the next tab called "Baseline data per building".
Below is a schematic overview of the adapted tools and instruments for EPC:
How to use the template
This template is part of EPC tender and should be filled in by the building owner
-
The spreadsheet should be thoroughly checked and adapted to national laws, regulations, and specific project conditions.
Please make sure all introductory text, texts in the margins and logos and layout are deleted before launching it as an attachment to the EPC tender.

## Baseline data per building
Baseline building data with climate corrected consumption
Electricity and oil consumption is indicative. Detailed consumption should be verified as needed by building owner and bidder/ESCO. | [12 empty] | Building owner:
The building owner is responsible for consumption data.
Baseline building data | [12 empty] | Municipality: |  |  | Instructions for use
Building name | Example school |  |  |  | Grid company: | [7 empty] | *Historical building? If yes describe: |  |  | Insert building data in white cells
Adress |  |  |  | Building year |  | 1980 |  |  |  | Degree days | [5 empty] | Orange cells are calculated automatically
Contact person operations |  |  |  | Rehabilitation/extension | [5 empty] | Normal | 4000 | N81-10 |  |  |  | The Excell sheet and its formulas must be quality assured before use
Phone |  |  |  | Rehabilitated | [5 empty] | 2017 | 3000 |  |  |  |  | Years (for consumption): | Use last 3 whole years
Building type |  |  |  | Extended |  | 2000 |  |  |  | 2018 | 2000 |  |  |  |  | Building type: | Use national system
Operation time (hours/day) |  |  |  | Heated area |  | 200 | m2 |  |  | 2019 | 5000 |  |  |  |  | Heated area: | Useable area heated to > 15 degrees C
Operation time (hours/week) |  |  |  | Room temperature |  | 22 | °C | [8 empty] | Room temperature: | Set point day/set point night
Planned rehabilitation in near future (yes/no) | [15 empty] | Temp. dependant share: | What proportion (%) of the energy uses varies with outside temperature? If not used for heating input 0%
Annual efficiency boiler | 85% | [14 empty] | Cell C22: | Write kWh or liter to convert between the two
Oil in kWh or litres? | kWh |  |  | Metered consumption |  |  | Climate corrected consumption |  |  | BASIS |  |  | BASIS |  |  | Cell P18-25: | Information purposes
Energy source | Meter no | Tariff | Temp. dependant share | 2017 | 2018 | 2019 | 2017 | 2018 | 2019 | Contract consumption [kWh} | Av. Max power 2017-2019 [kW] | Av. Water consumption 2017-2019 [m3] | Contact max power [kW] | Hours of use | Variable energy price [EUR/kWh] | *Building placed under legislative preservation
Electricity |  |  | 60% | 100000 | 200000 | 300000 | 120000 | 320000 | 264000 | 234666.6667 | 100 |  | 100 | 2346.6667
Unprioretized electricity |  |  | 90% | 100000 | 200000 | 300000 | 130000 | 380000 | 246000 | 252000 | 100 |  | 100 | 2520
Heat pump |  |  | 90% | 100000 | 200000 | 300000 | 130000 | 380000 | 246000 | 252000 | 100 |  | 100 | 2520
Tap water |  |  | 0% | 100000 | 200000 | 300000 | 100000 | 200000 | 300000 | 200000 | 100 |  | 100 | 2000
Oil/gas | stated in: | kwh | 90% | 100000 | 200000 | 300000 | 130000 | 260000 | 390000 | 260000 | 100 |  | 100 | 2600
District heating |  |  | 90% | 100000 | 200000 | 300000 | 130000 | 380000 | 246000 | 252000 | 100 |  | 100 | 2520
Sum Gross | [kWh] |  |  | 600000 | 1200000 | 1800000 | 740000 | 1920000 | 1692000 | 1450666.6667 | 600 | 0 | kWh/m2 B: | 7253.3333 | 0
Sum Net | [kWh] |  |  | 585000 | 1170000 | 1755000 | 720500 | 1881000 | 1633500 | 1411666.6667 | 600 |  | kWh/m2 N: | 7058.3333 | 0
Comment (e.g. if consumption not based on last 3 years)
Baseline building data | [12 empty] | Municipality:
Building name |  |  |  | Metered consumption 2018: Grid company: |  |  |  | *Historical building? If yes describe:
Adress |  |  |  | Metered consumption 2017: Building year; Metered consumption 2019: 1980 | Degree days
Contact person operations |  |  |  | Metered consumption 2017: Rehabilitation/extension | Normal | 4000 | N81-10
Phone |  |  |  | Metered consumption 2017: Rehabilitated | 2017 | 3000
Building type |  |  |  | Metered consumption 2017: Extended; Metered consumption 2019: 2000 | 2018 | 2000
Operation time (hours/day) |  |  |  | Metered consumption 2017: Heated area; Metered consumption 2019: 200; Climate corrected consumption 2017: m2 | 2019 | 5000
Operation time (hours/week) |  |  |  | Metered consumption 2017: Room temperature; Metered consumption 2019: 22; Climate corrected consumption 2017: °C
Planned rehabilitation in near future (yes/no)
Annual efficiency boiler | 85%
Oil in kWh or litres? | kWh |  |  | Metered consumption 2017: Metered consumption; Climate corrected consumption 2017: Climate corrected consumption | BASIS |  |  | BASIS
Energy source | Meter no | Tariff | Temp. dependant share | 2017 | 2018 | 2019 | 2017 | 2018 | 2019 | Contract consumption [kWh} | Av. Max power 2017-2019 [kW] | Av. Water consumption 2017-2019 [m3] | Contact max power [kW] | Hours of use | Variable energy price [EUR/kWh]
Electricity |  |  | 60% | Climate corrected consumption 2017: 0; Climate corrected consumption 2018: 0; Climate corrected consumption 2019: 0 | 0 |  |  | 0 | 0
Unprioretized electricity |  |  | 90% | Climate corrected consumption 2017: 0; Climate corrected consumption 2018: 0; Climate corrected consumption 2019: 0 | 0 |  |  | 0 | 0
Heat pump |  |  | 90% | Climate corrected consumption 2017: 0; Climate corrected consumption 2018: 0; Climate corrected consumption 2019: 0 | 0 |  |  | 0 | 0
Tap water |  |  | 0% | Climate corrected consumption 2017: 0; Climate corrected consumption 2018: 0; Climate corrected consumption 2019: 0 | 0 |  |  | 0 | 0
Oil/gas | stated in: | kwh | 90% | Climate corrected consumption 2017: 0; Climate corrected consumption 2018: 0; Climate corrected consumption 2019: 0 | 0 |  |  | 0 | 0
District heating |  |  | 90% | Climate corrected consumption 2017: 0; Climate corrected consumption 2018: 0; Climate corrected consumption 2019: 0 | 0 |  |  | 0 | 0
Sum Gross | [kWh] |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | kWh/m2 B: | 0 | 0
Sum Net | [kWh] |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | kWh/m2 N: | 0 | 0
Comment (e.g. if consumption not based on last 3 years)
Baseline building data | [12 empty] | Municipality:
Building name |  |  |  | Metered consumption 2018: Grid company: |  |  |  | *Historical building? If yes describe:
Adress |  |  |  | Metered consumption 2017: Building year; Metered consumption 2019: 1980 | Degree days
Contact person operations |  |  |  | Metered consumption 2017: Rehabilitation/extension | Normal | 4000 | N81-10
Phone |  |  |  | Metered consumption 2017: Rehabilitated | 2017 | 3000
Building type |  |  |  | Metered consumption 2017: Extended; Metered consumption 2019: 2000 | 2018 | 2000
Operation time (hours/day) |  |  |  | Metered consumption 2017: Heated area; Metered consumption 2019: 200; Climate corrected consumption 2017: m2 | 2019 | 5000
Operation time (hours/week) |  |  |  | Metered consumption 2017: Room temperature; Metered consumption 2019: 22; Climate corrected consumption 2017: °C
Planned rehabilitation in near future (yes/no)
Annual efficiency boiler | 85%
Oil in kWh or litres? | kWh |  |  | Metered consumption 2017: Metered consumption; Climate corrected consumption 2017: Climate corrected consumption | BASIS |  |  | BASIS
Energy source | Meter no | Tariff | Temp. dependant share | 2017 | 2018 | 2019 | 2017 | 2018 | 2019 | Contract consumption [kWh} | Av. Max power 2017-2019 [kW] | Av. Water consumption 2017-2019 [m3] | Contact max power [kW] | Hours of use | Variable energy price [EUR/kWh]
Electricity |  |  | 60% | Climate corrected consumption 2017: 0; Climate corrected consumption 2018: 0; Climate corrected consumption 2019: 0 | 0 |  |  | 0 | 0
Unprioretized electricity |  |  | 90% | Climate corrected consumption 2017: 0; Climate corrected consumption 2018: 0; Climate corrected consumption 2019: 0 | 0 |  |  | 0 | 0
Heat pump |  |  | 90% | Climate corrected consumption 2017: 0; Climate corrected consumption 2018: 0; Climate corrected consumption 2019: 0 | 0 |  |  | 0 | 0
Tap water |  |  | 0% | Climate corrected consumption 2017: 0; Climate corrected consumption 2018: 0; Climate corrected consumption 2019: 0 | 0 |  |  | 0 | 0
Oil/gas | stated in: | kwh | 90% | Climate corrected consumption 2017: 0; Climate corrected consumption 2018: 0; Climate corrected consumption 2019: 0 | 0 |  |  | 0 | 0
District heating |  |  | 90% | Climate corrected consumption 2017: 0; Climate corrected consumption 2018: 0; Climate corrected consumption 2019: 0 | 0 |  |  | 0 | 0
Sum Gross | [kWh] |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | kWh/m2 B: | 0 | 0
Sum Net | [kWh] |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | kWh/m2 N: | 0 | 0
Comment (e.g. if consumption not based on last 3 years)
Baseline building data | [12 empty] | Municipality:
Building name |  |  |  | Metered consumption 2018: Grid company: |  |  |  | *Historical building? If yes describe:
Adress |  |  |  | Metered consumption 2017: Building year; Metered consumption 2019: 1980 | Degree days
Contact person operations |  |  |  | Metered consumption 2017: Rehabilitation/extension | Normal | 4000 | N81-10
Phone |  |  |  | Metered consumption 2017: Rehabilitated | 2017 | 3000
Building type |  |  |  | Metered consumption 2017: Extended; Metered consumption 2019: 2000 | 2018 | 2000
Operation time (hours/day) |  |  |  | Metered consumption 2017: Heated area; Metered consumption 2019: 200; Climate corrected consumption 2017: m2 | 2019 | 5000
Operation time (hours/week) |  |  |  | Metered consumption 2017: Room temperature; Metered consumption 2019: 22; Climate corrected consumption 2017: °C
Planned rehabilitation in near future (yes/no)
Annual efficiency boiler | 85%
Oil in kWh or litres? | kWh |  |  | Metered consumption 2017: Metered consumption; Climate corrected consumption 2017: Climate corrected consumption | BASIS |  |  | BASIS
Energy source | Meter no | Tariff | Temp. dependant share | 2017 | 2018 | 2019 | 2017 | 2018 | 2019 | Contract consumption [kWh} | Av. Max power 2017-2019 [kW] | Av. Water consumption 2017-2019 [m3] | Contact max power [kW] | Hours of use | Variable energy price [EUR/kWh]
Electricity |  |  | 60% | Climate corrected consumption 2017: 0; Climate corrected consumption 2018: 0; Climate corrected consumption 2019: 0 | 0 |  |  | 0 | 0
Unprioretized electricity |  |  | 90% | Climate corrected consumption 2017: 0; Climate corrected consumption 2018: 0; Climate corrected consumption 2019: 0 | 0 |  |  | 0 | 0
Heat pump |  |  | 90% | Climate corrected consumption 2017: 0; Climate corrected consumption 2018: 0; Climate corrected consumption 2019: 0 | 0 |  |  | 0 | 0
Tap water |  |  | 0% | Climate corrected consumption 2017: 0; Climate corrected consumption 2018: 0; Climate corrected consumption 2019: 0 | 0 |  |  | 0 | 0
Oil/gas | stated in: | kwh | 90% | Climate corrected consumption 2017: 0; Climate corrected consumption 2018: 0; Climate corrected consumption 2019: 0 | 0 |  |  | 0 | 0
District heating |  |  | 90% | Climate corrected consumption 2017: 0; Climate corrected consumption 2018: 0; Climate corrected consumption 2019: 0 | 0 |  |  | 0 | 0
Sum Gross | [kWh] |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | kWh/m2 B: | 0 | 0
Sum Net | [kWh] |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | kWh/m2 N: | 0 | 0
Comment (e.g. if consumption not based on last 3 years)
Baseline building data | [12 empty] | Municipality:
Building name |  |  |  | Metered consumption 2018: Grid company: |  |  |  | *Historical building? If yes describe:
Adress |  |  |  | Metered consumption 2017: Building year; Metered consumption 2019: 1980 | Degree days
Contact person operations |  |  |  | Metered consumption 2017: Rehabilitation/extension | Normal | 4000 | N81-10
Phone |  |  |  | Metered consumption 2017: Rehabilitated | 2017 | 3000
Building type |  |  |  | Metered consumption 2017: Extended; Metered consumption 2019: 2000 | 2018 | 2000
Operation time (hours/day) |  |  |  | Metered consumption 2017: Heated area; Metered consumption 2019: 200; Climate corrected consumption 2017: m2 | 2019 | 5000
Operation time (hours/week) |  |  |  | Metered consumption 2017: Room temperature; Metered consumption 2019: 22; Climate corrected consumption 2017: °C
Planned rehabilitation in near future (yes/no)
Annual efficiency boiler | 85%
Oil in kWh or litres? | kWh |  |  | Metered consumption 2017: Metered consumption; Climate corrected consumption 2017: Climate corrected consumption | BASIS |  |  | BASIS
Energy source | Meter no | Tariff | Temp. dependant share | 2017 | 2018 | 2019 | 2017 | 2018 | 2019 | Contract consumption [kWh} | Av. Max power 2017-2019 [kW] | Av. Water consumption 2017-2019 [m3] | Contact max power [kW] | Hours of use | Variable energy price [EUR/kWh]
Electricity |  |  | 60% | Climate corrected consumption 2017: 0; Climate corrected consumption 2018: 0; Climate corrected consumption 2019: 0 | 0 |  |  | 0 | 0
Unprioretized electricity |  |  | 90% | Climate corrected consumption 2017: 0; Climate corrected consumption 2018: 0; Climate corrected consumption 2019: 0 | 0 |  |  | 0 | 0
Heat pump |  |  | 90% | Climate corrected consumption 2017: 0; Climate corrected consumption 2018: 0; Climate corrected consumption 2019: 0 | 0 |  |  | 0 | 0
Tap water |  |  | 0% | Climate corrected consumption 2017: 0; Climate corrected consumption 2018: 0; Climate corrected consumption 2019: 0 | 0 |  |  | 0 | 0
Oil/gas | stated in: | kwh | 90% | Climate corrected consumption 2017: 0; Climate corrected consumption 2018: 0; Climate corrected consumption 2019: 0 | 0 |  |  | 0 | 0
District heating |  |  | 90% | Climate corrected consumption 2017: 0; Climate corrected consumption 2018: 0; Climate corrected consumption 2019: 0 | 0 |  |  | 0 | 0
Sum Gross | [kWh] |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | kWh/m2 B: | 0 | 0
Sum Net | [kWh] |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | kWh/m2 N: | 0 | 0
Comment (e.g. if consumption not based on last 3 years)
Baseline building data | [12 empty] | Municipality:
Building name |  |  |  | Metered consumption 2018: Grid company: |  |  |  | *Historical building? If yes describe:
Adress |  |  |  | Metered consumption 2017: Building year; Metered consumption 2019: 1980 | Degree days
Contact person operations |  |  |  | Metered consumption 2017: Rehabilitation/extension | Normal | 4000 | N81-10
Phone |  |  |  | Metered consumption 2017: Rehabilitated | 2017 | 3000
Building type |  |  |  | Metered consumption 2017: Extended; Metered consumption 2019: 2000 | 2018 | 2000
Operation time (hours/day) |  |  |  | Metered consumption 2017: Heated area; Metered consumption 2019: 200; Climate corrected consumption 2017: m2 | 2019 | 5000
Operation time (hours/week) |  |  |  | Metered consumption 2017: Room temperature; Metered consumption 2019: 22; Climate corrected consumption 2017: °C
Planned rehabilitation in near future (yes/no)
Annual efficiency boiler | 85%
Oil in kWh or litres? | kWh |  |  | Metered consumption 2017: Metered consumption; Climate corrected consumption 2017: Climate corrected consumption | BASIS |  |  | BASIS
Energy source | Meter no | Tariff | Temp. dependant share | 2017 | 2018 | 2019 | 2017 | 2018 | 2019 | Contract consumption [kWh} | Av. Max power 2017-2019 [kW] | Av. Water consumption 2017-2019 [m3] | Contact max power [kW] | Hours of use | Variable energy price [EUR/kWh]
Electricity |  |  | 60% | Climate corrected consumption 2017: 0; Climate corrected consumption 2018: 0; Climate corrected consumption 2019: 0 | 0 |  |  | 0 | 0
Unprioretized electricity |  |  | 90% | Climate corrected consumption 2017: 0; Climate corrected consumption 2018: 0; Climate corrected consumption 2019: 0 | 0 |  |  | 0 | 0
Heat pump |  |  | 90% | Climate corrected consumption 2017: 0; Climate corrected consumption 2018: 0; Climate corrected consumption 2019: 0 | 0 |  |  | 0 | 0
Tap water |  |  | 0% | Climate corrected consumption 2017: 0; Climate corrected consumption 2018: 0; Climate corrected consumption 2019: 0 | 0 |  |  | 0 | 0
Oil/gas | stated in: | kwh | 90% | Climate corrected consumption 2017: 0; Climate corrected consumption 2018: 0; Climate corrected consumption 2019: 0 | 0 |  |  | 0 | 0
District heating |  |  | 90% | Climate corrected consumption 2017: 0; Climate corrected consumption 2018: 0; Climate corrected consumption 2019: 0 | 0 |  |  | 0 | 0
Sum Gross | [kWh] |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | kWh/m2 B: | 0 | 0
Sum Net | [kWh] |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | kWh/m2 N: | 0 | 0
Comment (e.g. if consumption not based on last 3 years)
Baseline building data | [12 empty] | Municipality:
Building name |  |  |  | Metered consumption 2018: Grid company: |  |  |  | *Historical building? If yes describe:
Adress |  |  |  | Metered consumption 2017: Building year; Metered consumption 2019: 1980 | Degree days
Contact person operations |  |  |  | Metered consumption 2017: Rehabilitation/extension | Normal | 4000 | N81-10
Phone |  |  |  | Metered consumption 2017: Rehabilitated | 2017 | 3000
Building type |  |  |  | Metered consumption 2017: Extended; Metered consumption 2019: 2000 | 2018 | 2000
Operation time (hours/day) |  |  |  | Metered consumption 2017: Heated area; Metered consumption 2019: 200; Climate corrected consumption 2017: m2 | 2019 | 5000
Operation time (hours/week) |  |  |  | Metered consumption 2017: Room temperature; Metered consumption 2019: 22; Climate corrected consumption 2017: °C
Planned rehabilitation in near future (yes/no)
Annual efficiency boiler | 85%
Oil in kWh or litres? | kWh |  |  | Metered consumption 2017: Metered consumption; Climate corrected consumption 2017: Climate corrected consumption | BASIS |  |  | BASIS
Energy source | Meter no | Tariff | Temp. dependant share | 2017 | 2018 | 2019 | 2017 | 2018 | 2019 | Contract consumption [kWh} | Av. Max power 2017-2019 [kW] | Av. Water consumption 2017-2019 [m3] | Contact max power [kW] | Hours of use | Variable energy price [EUR/kWh]
Electricity |  |  | 60% | Climate corrected consumption 2017: 0; Climate corrected consumption 2018: 0; Climate corrected consumption 2019: 0 | 0 |  |  | 0 | 0
Unprioretized electricity |  |  | 90% | Climate corrected consumption 2017: 0; Climate corrected consumption 2018: 0; Climate corrected consumption 2019: 0 | 0 |  |  | 0 | 0
Heat pump |  |  | 90% | Climate corrected consumption 2017: 0; Climate corrected consumption 2018: 0; Climate corrected consumption 2019: 0 | 0 |  |  | 0 | 0
Tap water |  |  | 0% | Climate corrected consumption 2017: 0; Climate corrected consumption 2018: 0; Climate corrected consumption 2019: 0 | 0 |  |  | 0 | 0
Oil/gas | stated in: | kwh | 90% | Climate corrected consumption 2017: 0; Climate corrected consumption 2018: 0; Climate corrected consumption 2019: 0 | 0 |  |  | 0 | 0
District heating |  |  | 90% | Climate corrected consumption 2017: 0; Climate corrected consumption 2018: 0; Climate corrected consumption 2019: 0 | 0 |  |  | 0 | 0
Sum Gross | [kWh] |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | kWh/m2 B: | 0 | 0
Sum Net | [kWh] |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | kWh/m2 N: | 0 | 0
Comment (e.g. if consumption not based on last 3 years)
Baseline building data | [12 empty] | Municipality:
Building name |  |  |  | Metered consumption 2018: Grid company: |  |  |  | *Historical building? If yes describe:
Adress |  |  |  | Metered consumption 2017: Building year; Metered consumption 2019: 1980 | Degree days
Contact person operations |  |  |  | Metered consumption 2017: Rehabilitation/extension | Normal | 4000 | N81-10
Phone |  |  |  | Metered consumption 2017: Rehabilitated | 2017 | 3000
Building type |  |  |  | Metered consumption 2017: Extended; Metered consumption 2019: 2000 | 2018 | 2000
Operation time (hours/day) |  |  |  | Metered consumption 2017: Heated area; Metered consumption 2019: 200; Climate corrected consumption 2017: m2 | 2019 | 5000
Operation time (hours/week) |  |  |  | Metered consumption 2017: Room temperature; Metered consumption 2019: 22; Climate corrected consumption 2017: °C
Planned rehabilitation in near future (yes/no)
Annual efficiency boiler | 85%
Oil in kWh or litres? | kWh |  |  | Metered consumption 2017: Metered consumption; Climate corrected consumption 2017: Climate corrected consumption | BASIS |  |  | BASIS
Energy source | Meter no | Tariff | Temp. dependant share | 2017 | 2018 | 2019 | 2017 | 2018 | 2019 | Contract consumption [kWh} | Av. Max power 2017-2019 [kW] | Av. Water consumption 2017-2019 [m3] | Contact max power [kW] | Hours of use | Variable energy price [EUR/kWh]
Electricity |  |  | 60% | Climate corrected consumption 2017: 0; Climate corrected consumption 2018: 0; Climate corrected consumption 2019: 0 | 0 |  |  | 0 | 0
Unprioretized electricity |  |  | 90% | Climate corrected consumption 2017: 0; Climate corrected consumption 2018: 0; Climate corrected consumption 2019: 0 | 0 |  |  | 0 | 0
Heat pump |  |  | 90% | Climate corrected consumption 2017: 0; Climate corrected consumption 2018: 0; Climate corrected consumption 2019: 0 | 0 |  |  | 0 | 0
Tap water |  |  | 0% | Climate corrected consumption 2017: 0; Climate corrected consumption 2018: 0; Climate corrected consumption 2019: 0 | 0 |  |  | 0 | 0
Oil/gas | stated in: | kwh | 90% | Climate corrected consumption 2017: 0; Climate corrected consumption 2018: 0; Climate corrected consumption 2019: 0 | 0 |  |  | 0 | 0
District heating |  |  | 90% | Climate corrected consumption 2017: 0; Climate corrected consumption 2018: 0; Climate corrected consumption 2019: 0 | 0 |  |  | 0 | 0
Sum Gross | [kWh] |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | kWh/m2 B: | 0 | 0
Sum Net | [kWh] |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | kWh/m2 N: | 0 | 0
Comment (e.g. if consumption not based on last 3 years)
Copy table for as many buildings as needed
Note on H21: [Kommentartråd] Din versjon av Excel lar deg lese denne kommentartråden. Eventuelle endringer i den vil imidlertid bli fjernet hvis filen åpnes i en nyere versjon av Excel. Finn ut mer: https://go.microsoft.com/fwlink/?linkid=870924 Kommentar: Converted to kWh if stated as litres
Note on H43: [Kommentartråd] Din versjon av Excel lar deg lese denne kommentartråden. Eventuelle endringer i den vil imidlertid bli fjernet hvis filen åpnes i en nyere versjon av Excel. Finn ut mer: https://go.microsoft.com/fwlink/?linkid=870924 Kommentar: Converted to kWh if stated as litres
Note on H65: [Kommentartråd] Din versjon av Excel lar deg lese denne kommentartråden. Eventuelle endringer i den vil imidlertid bli fjernet hvis filen åpnes i en nyere versjon av Excel. Finn ut mer: https://go.microsoft.com/fwlink/?linkid=870924 Kommentar: Converted to kWh if stated as litres
Note on H87: [Kommentartråd] Din versjon av Excel lar deg lese denne kommentartråden. Eventuelle endringer i den vil imidlertid bli fjernet hvis filen åpnes i en nyere versjon av Excel. Finn ut mer: https://go.microsoft.com/fwlink/?linkid=870924 Kommentar: Converted to kWh if stated as litres
Note on H109: [Kommentartråd] Din versjon av Excel lar deg lese denne kommentartråden. Eventuelle endringer i den vil imidlertid bli fjernet hvis filen åpnes i en nyere versjon av Excel. Finn ut mer: https://go.microsoft.com/fwlink/?linkid=870924 Kommentar: Converted to kWh if stated as litres
Note on H131: [Kommentartråd] Din versjon av Excel lar deg lese denne kommentartråden. Eventuelle endringer i den vil imidlertid bli fjernet hvis filen åpnes i en nyere versjon av Excel. Finn ut mer: https://go.microsoft.com/fwlink/?linkid=870924 Kommentar: Converted to kWh if stated as litres
Note on H153: [Kommentartråd] Din versjon av Excel lar deg lese denne kommentartråden. Eventuelle endringer i den vil imidlertid bli fjernet hvis filen åpnes i en nyere versjon av Excel. Finn ut mer: https://go.microsoft.com/fwlink/?linkid=870924 Kommentar: Converted to kWh if stated as litres
Note on H175: [Kommentartråd] Din versjon av Excel lar deg lese denne kommentartråden. Eventuelle endringer i den vil imidlertid bli fjernet hvis filen åpnes i en nyere versjon av Excel. Finn ut mer: https://go.microsoft.com/fwlink/?linkid=870924 Kommentar: Converted to kWh if stated as litres

## Basline data collected
Baseline data collected | [6 empty] | The Excell sheet and its formulas must be quality assured before use
Building | Enterprise/operation | Year of construction | Heated area | Energy consumption before phase 2 (Basis) |  |  |  |  | Effect | Specific
|  |  |  | Oil | Unsecured energy | Firm power | District heating | Total | Max | Consumption (gross)
|  |  | [m2] | [kWh] | [kWh] | [kWh] | [kWh] | [kWh] | [kW] | [kWh/m2] | Comments
Example school |  | 1980 | 200
Totalt |  |  | 200 | 0 | 0 | 0 | 0 | 0 |  | 0

## Overview ventilation
Overview ventilation | [6 empty] | The Excell sheet and its formulas must be quality assured before use
Bygg: | Example building |  |  |  |  | Write what kind of area the unit covers: office, classroom, canteen, gymnasium, etc
Write if there is cooling, any efficiency heat recovery, control, covers room heating, etc
Is it permissible to offer demand control of air with a CO2 sensor in the vent, possibly with extra sensor (s) in critical rooms?
| Type of ventilation plant | Type of heat recovery unit | Airflow | Time of operation |  | Comments
| (vent, balanced, other) | (rotor, cross, battery, age, frequency control, other) | (m³/time) | (time) | (days)
Ventilation plant 1
Ventilation plant 2
Ventilation plant 3
Ventilation plant 4
Ventilation plant 5
Ventilation plant 6
Building | 0
| Type of ventilation plant | Type of heat recovery unit | Airflow | Time of operation |  | Comments
| (vent, balanced, other) | (rotor, cross, battery, age, frequency control, other) | (m³/time) | (time) | (days)
Ventilation plant 1
Ventilation plant 2
Ventilation plant 3
Ventilation plant 4
Ventilation plant 5
Ventilation plant 6
Building | 0
| Type of ventilation plant | Type of heat recovery unit | Airflow | Time of operation |  | Comments
| (vent, balanced, other) | (rotor, cross, battery, age, frequency control, other) | (m³/time) | (time) | (days)
Ventilation plant 1
Ventilation plant 2
Ventilation plant 3
Ventilation plant 4
Ventilation plant 5
Ventilation plant 6
Building | 0
| Type of ventilation plant | Type of heat recovery unit | Airflow | Time of operation |  | Comments
| (vent, balanced, other) | (rotor, cross, battery, age, frequency control, other) | (m³/time) | (time) | (days)
Ventilation plant 1
Ventilation plant 2
Ventilation plant 3
Ventilation plant 4
Ventilation plant 5
Ventilation plant 6
Building | 0
| Type of ventilation plant | Type of heat recovery unit | Airflow | Time of operation |  | Comments
| (vent, balanced, other) | (rotor, cross, battery, age, frequency control, other) | (m³/time) | (time) | (days)
Ventilation plant 1
Ventilation plant 2
Ventilation plant 3
Ventilation plant 4
Ventilation plant 5
Ventilation plant 6
Building | 0
| Type of ventilation plant | Type of heat recovery unit | Airflow | Time of operation |  | Comments
| (vent, balanced, other) | (rotor, cross, battery, age, frequency control, other) | (m³/time) | (time) | (days)
Ventilation plant 1
Ventilation plant 2
Ventilation plant 3
Ventilation plant 4
Ventilation plant 5
Ventilation plant 6
Building | 0
| Type of ventilation plant | Type of heat recovery unit | Airflow | Time of operation |  | Comments
| (vent, balanced, other) | (rotor, cross, battery, age, frequency control, other) | (m³/time) | (time) | (days)
Ventilation plant 1
Ventilation plant 2
Ventilation plant 3
Ventilation plant 4
Ventilation plant 5
Ventilation plant 6
Building | 0
| Type of ventilation plant | Type of heat recovery unit | Airflow | Time of operation |  | Comments
| (vent, balanced, other) | (rotor, cross, battery, age, frequency control, other) | (m³/time) | (time) | (days)
Ventilation plant 1
Ventilation plant 2
Ventilation plant 3
Ventilation plant 4
Ventilation plant 5
Ventilation plant 6
Building | 0
| Type of ventilation plant | Type of heat recovery unit | Airflow | Time of operation |  | Comments
| (vent, balanced, other) | (rotor, cross, battery, age, frequency control, other) | (m³/time) | (time) | (days)
Ventilation plant 1
Ventilation plant 2
Ventilation plant 3
Ventilation plant 4
Ventilation plant 5
Ventilation plant 6
Building | 0
| Type of ventilation plant | Type of heat recovery unit | Airflow | Time of operation |  | Comments
| (vent, balanced, other) | (rotor, cross, battery, age, frequency control, other) | (m³/time) | (time) | (days)
Ventilation plant 1
Ventilation plant 2
Ventilation plant 3
Ventilation plant 4
Ventilation plant 5
Ventilation plant 6
Building | 0
| Type of ventilation plant | Type of heat recovery unit | Airflow | Time of operation |  | Comments
| (vent, balanced, other) | (rotor, cross, battery, age, frequency control, other) | (m³/time) | (time) | (days)
Ventilation plant 1
Ventilation plant 2
Ventilation plant 3
Ventilation plant 4
Ventilation plant 5
Ventilation plant 6
Bygg: | 0
| Type of ventilation plant | Type of heat recovery unit | Airflow | Time of operation |  | Comments
| (vent, balanced, other) | (rotor, cross, battery, age, frequency control, other) | (m³/time) | (time) | (days)
Ventilation plant 1
Ventilation plant 2
Ventilation plant 3
Ventilation plant 4
Ventilation plant 5
Ventilation plant 6
Bygg: | 0
| Type of ventilation plant | Type of heat recovery unit | Airflow | Time of operation |  | Comments
| (vent, balanced, other) | (rotor, cross, battery, age, frequency control, other) | (m³/time) | (time) | (days)
Ventilation plant 1
Ventilation plant 2
Ventilation plant 3
Ventilation plant 4
Ventilation plant 5
Ventilation plant 6
Bygg: | 0
| Type of ventilation plant | Type of heat recovery unit | Airflow | Time of operation |  | Comments
| (vent, balanced, other) | (rotor, cross, battery, age, frequency control, other) | (m³/time) | (time) | (days)
Ventilation plant 1
Ventilation plant 2
Ventilation plant 3
Ventilation plant 4
Ventilation plant 5
Ventilation plant 6
Bygg: | 0
| Type of ventilation plant | Type of heat recovery unit | Airflow | Time of operation |  | Comments
| (vent, balanced, other) | (rotor, cross, battery, age, frequency control, other) | (m³/time) | (time) | (days)
Ventilation plant 1
Ventilation plant 2
Ventilation plant 3
Ventilation plant 4
Ventilation plant 5
Ventilation plant 6
Bygg: | 0
| Type of ventilation plant | Type of heat recovery unit | Airflow | Time of operation |  | Comments
| (vent, balanced, other) | (rotor, cross, battery, age, frequency control, other) | (m³/time) | (time) | (days)
Ventilation plant 1
Ventilation plant 2
Ventilation plant 3
Ventilation plant 4
Ventilation plant 5
Ventilation plant 6
Bygg: | 0
| Type of ventilation plant | Type of heat recovery unit | Airflow | Time of operation |  | Comments
| (vent, balanced, other) | (rotor, cross, battery, age, frequency control, other) | (m³/time) | (time) | (days)
Ventilation plant 1
Ventilation plant 2
Ventilation plant 3
Ventilation plant 4
Ventilation plant 5
Ventilation plant 6
Bygg: | 0
| Type of ventilation plant | Type of heat recovery unit | Airflow | Time of operation |  | Comments
| (vent, balanced, other) | (rotor, cross, battery, age, frequency control, other) | (m³/time) | (time) | (days)
Ventilation plant 1
Ventilation plant 2
Ventilation plant 3
Ventilation plant 4
Ventilation plant 5
Ventilation plant 6
Bygg: | 0
| Type of ventilation plant | Type of heat recovery unit | Airflow | Time of operation |  | Comments
| (vent, balanced, other) | (rotor, cross, battery, age, frequency control, other) | (m³/time) | (time) | (days)
Ventilation plant 1
Ventilation plant 2
Ventilation plant 3
Ventilation plant 4
Ventilation plant 5
Ventilation plant 6
Bygg: | 0
| Type of ventilation plant | Type of heat recovery unit | Airflow | Time of operation |  | Comments
| (vent, balanced, other) | (rotor, cross, battery, age, frequency control, other) | (m³/time) | (time) | (days)
Ventilation plant 1
Ventilation plant 2
Ventilation plant 3
Ventilation plant 4
Ventilation plant 5
Ventilation plant 6
Bygg: | 0
| Type of ventilation plant | Type of heat recovery unit | Airflow | Time of operation |  | Comments
| (vent, balanced, other) | (rotor, cross, battery, age, frequency control, other) | (m³/time) | (time) | (days)
Ventilation plant 1
Ventilation plant 2
Ventilation plant 3
Ventilation plant 4
Ventilation plant 5
Ventilation plant 6
Bygg: | 0
| Type of ventilation plant | Type of heat recovery unit | Airflow | Time of operation |  | Comments
| (vent, balanced, other) | (rotor, cross, battery, age, frequency control, other) | (m³/time) | (time) | (days)
Ventilation plant 1
Ventilation plant 2
Ventilation plant 3
Ventilation plant 4
Ventilation plant 5
Ventilation plant 6
Bygg: | 0

## Overview lighting
Overview lighting | The Excell sheet and its formulas must be quality assured before use
Building | Lighting (type distributed by area: T8, T5, halogen, compact fluorescent lamps, lighting control etc)
Example building
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0